## Sheet1
space 1 | space 2 | U | Area | Ti | To | Qs (W) | W
power house | hallway |  | 1.8 |  |  |  | 0.9
work area | maitenance room |  | 1.8 |  |  |  | 0.9
storage room | work area |  | 1.8 |  |  |  | 0.9
maitenance room | hallway |  | 1.8 |  |  |  | 0.9
| cr |  | 1.6 |  |  |  | 0.8
female toilet | hallway |  | 1.8 |  |  |  | 0.9
male toilet | hallway |  | 1.8 |  |  |  | 0.9
minor operating room | hallway |  | 3.2 |  |  |  | 1.6
equipment and supply storage area | hallway |  | 1.8 |  |  |  | 0.9
cadaver holding room | hallwayy |  | 3.6 |  |  |  | 1.8
supply room | hallway |  | 2 |  |  |  | 1
bulk storage | pharmacy |  | 1.8 |  |  |  | 0.9
pharmacy | bulk storage |  | 1.8 |  |  |  | 0.9
| hallway |  | 1.8 |  |  |  | 0.9
medical records office | hallway |  | 1.8 |  |  |  | 0.9
philhealth | hallway |  | 1.8 |  |  |  | 0.9
doctors on duty | hallway |  | 1.8 |  |  |  | 0.9
cr malapit sa doctors duty | hallway |  | 1.6 |  |  |  | 0.8
work area laboratory | waiting area |  | 1.8 |  |  |  | 0.9
waiting area | work area laboratory |  | 1.8 |  |  |  | 0.9
| hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.8 |  |  |  | 0.9
cr sa waiting area | waiting area |  | 1.8 |  |  |  | 0.9
opd clinic dental | hallway |  | 2.4 |  |  |  | 1.2
opd clinic dental | hallway |  | 2.4 |  |  |  | 1.2
opd clinic surgery | hallway |  | 2.4 |  |  |  | 1.2
opd clinic surgery | hallway |  | 2.4 |  |  |  | 1.2
cashier | hallway |  | 1.8 |  |  |  | 0.9
billing | hallway |  | 1.8 |  |  |  | 0.9
admitting | hallway |  | 1.8 |  |  |  | 0.9
film file storage | radiologist office and viewing/reading room |  | 1.8 |  |  |  | 0.9
radiologist office and viewing/reading room | film file storage room |  | 1.8 |  |  |  | 0.9
| hallway |  | 1.8 |  |  |  | 0.9
| xray room |  | 1.8 |  |  |  | 0.9
dark room | xray room |  | 1.6 |  |  |  | 0.8
xray room | cr |  | 1.8 |  |  |  | 0.9
| dark room |  | 1.6 |  |  |  | 0.8
| radiologist office and viewing/reading room |  | 1.8 |  |  |  | 0.9
| hallway |  | 2.4 |  |  |  | 1.2
opd clinic pedia | hallway |  | 2.4 |  |  |  | 1.2
opd clinic pedia | hallway |  | 2.4 |  |  |  | 1.2
opd records | opd info admitting |  | 1.6 |  |  |  | 0.8
opd info admitting | opd records |  | 1.6 |  |  |  | 0.8
| hallway |  | 1.6 |  |  |  | 0.8
opd clinic medical | hallway |  | 2.4 |  |  |  | 1.2
opd clinic medical | hallway |  | 2.4 |  |  |  | 1.2
pressing area | washing area |  | 1.8 |  |  |  | 0.9
| linen storage and linen office |  | 1.8 |  |  |  | 0.9
linen storage and office | pressing area |  | 1.8 |  |  |  | 0.9
| receiving sorting area |  | 1.8 |  |  |  | 0.9
washing area and receiving area | pressing area |  | 1.8 |  |  |  | 0.9
| cr |  | 1.6 |  |  |  | 0.8
| hallway |  | 2 |  |  |  | 1
cr sa washing area | washing area |  | 1.6 |  |  |  | 0.8
administrative office | admin office |  | 1.8 |  |  |  | 0.9
| hallway |  | 1.8 |  |  |  | 0.9
admin office | administrative office |  | 1.8 |  |  |  | 0.9
social welfare | hallway |  | 1.8 |  |  |  | 0.9
male toilet | hallway |  | 1.8 |  |  |  | 0.9
female toilet | hallway |  | 1.8 |  |  |  | 0.9
opd info admitting | hallway |  | 1.8 |  |  |  | 0.9
| opd records |  | 1.8 |  |  |  | 0.9
opd records | opd info admitting |  | 1.8 |  |  |  | 0.9
ultrasound | hallway |  | 1.8 |  |  |  | 0.9
| cr |  | 1.8 |  |  |  | 0.9
cr sa ultrasound | ultrasound room |  | 1.8 |  |  |  | 0.9
dietary | dietitians office |  | 1.8 |  |  |  | 0.9
| dry storage |  | 1.2 |  |  |  | 0.6
| cold storage |  | 1.2 |  |  |  | 0.6
| supply receiving area |  | 1.8 |  |  |  | 0.9
| hallway |  | 2.4 |  |  |  | 1.2
| hallway |  | 2.4 |  |  |  | 1.2
| hallway |  | 2.4 |  |  |  | 1.2
| canteen |  | 2.4 |  |  |  | 1.2
dry storage | dietary |  | 1.2 |  |  |  | 0.6
cold storage | dietary |  | 1.2 |  |  |  | 0.6
supply recieveing area | dietary |  | 1.8 |  |  |  | 0.9
dietritians office | dietary |  | 1.8 |  |  |  | 0.9
| cr |  | 1.6 |  |  |  | 0.8
cr sa deitritians office | dietritians office |  | 1.6 |  |  |  | 0.8
canteen | dietary |  | 2.4 |  |  |  | 1.2
| hallway |  | 4 |  |  |  | 2
opd clinic ob gyne | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.8 |  |  |  | 0.9
cr sa ob gyne | opd clinic ob gyne |  | 1.8 |  |  |  | 0.9
0
2nd floor bitch |  |  | 0
5 bed ward | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa 5 bedward | 5 bed ward |  | 1.4 |  |  |  | 0.7
5 bed ward | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa 5 bedward | 5 bed ward |  | 1.4 |  |  |  | 0.7
5 bed ward | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa 5 bedward | 5 bed ward |  | 1.4 |  |  |  | 0.7
5 bed ward | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa 5 bedward | 5 bed ward |  | 1.4 |  |  |  | 0.7
isolation room | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa isolation room | isolation room |  | 1.4 |  |  |  | 0.7
private room | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa private room | private room |  | 1.4 |  |  |  | 0.7
private room | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa private room | private room |  | 1.4 |  |  |  | 0.7
chief nurse | hallway |  | 1.8 |  |  |  | 0.9
| cr ng chief nurse |  | 1.4 |  |  |  | 0.7
treatment room | hallway |  | 2.4 |  |  |  | 1.2
dirty utility | hallway |  | 1.2 |  |  |  | 0.6
clean linen | hallway |  | 1.2 |  |  |  | 0.6
cr | hallway |  | 1.2 |  |  |  | 0.6
private room | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa private room | private room |  | 1.4 |  |  |  | 0.7
private room | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa private room | private room |  | 1.4 |  |  |  | 0.7
isolation room | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa isolation room | isolation room |  | 1.4 |  |  |  | 0.7
reception | hallway |  | 1.6 |  |  |  | 0.8
| chief of hospital |  | 1.6 |  |  |  | 0.8
chief of hospital | hallway |  | 1.8 |  |  |  | 0.9
| reception |  | 1.6 |  |  |  | 0.8
| cr |  | 1.2 |  |  |  | 0.6
cr sa chief of hospital | chief of hospital |  | 1.2 |  |  |  | 0.6
3 bed ward | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa 3 bed ward | 3 bed ward |  | 1.4 |  |  |  | 0.7
3 bed ward | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa 3 bed ward | 3 bed ward |  | 1.4 |  |  |  | 0.7
private room | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa private room | private room |  | 1.4 |  |  |  | 0.7
private room | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa private room | private room |  | 1.4 |  |  |  | 0.7
conference room | hallway |  | 2 |  |  |  | 1
3 bed ward | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa 3 bed ward | 3 bed ward |  | 1.4 |  |  |  | 0.7
3 bed ward | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa 3 bed ward | 3 bed ward |  | 1.4 |  |  |  | 0.7
private room | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa private room | private room |  | 1.4 |  |  |  | 0.7
private room | hallway |  | 2.4 |  |  |  | 1.2
| cr |  | 1.4 |  |  |  | 0.7
cr sa private room | private room |  | 1.4 |  |  |  | 0.7
chief of clinics | hallway |  | 1.8 |  |  |  | 0.9
| cr |  | 1.2 |  |  |  | 0.6
cr cng chief of clinics | chief of clinics |  | 1.2 |  |  |  | 0.6
cssr | hallway |  | 2 |  |  |  | 1
| sterile supply room |  | 1.8 |  |  |  | 0.9
sterile supply room | csst |  | 1.8 |  |  |  | 0.9
delivery room | hallway |  | 3.2 |  |  |  | 1.6
| sub ster room |  | 1.8 |  |  |  | 0.9
sub ster room | delivery room |  | 1.8 |  |  |  | 0.9
labor room | cr |  | 1.4 |  |  |  | 0.7
| hallway |  | 2 |  |  |  | 1
| hallway |  | 3.2 |  |  |  | 1.6
cr ng labor room | labor room |  | 1.4 |  |  |  | 0.7
pathologic nursery | work area |  | 2 |  |  |  | 1
pre mature nursery | work area |  | 2 |  |  |  | 1
breast feeding room | hallway |  | 1.6 |  |  |  | 0.8
| work area |  | 1.6 |  |  |  | 0.8
work area | pathologic |  | 2 |  |  |  | 1
| pre mature nursery |  | 2 |  |  |  | 1
| breastfeeding room |  | 1.6 |  |  |  | 0.8
pre operation area | hallway |  | 1.8 |  |  |  | 0.9
major operating room | hallway |  | 3.2 |  |  |  | 1.6
| sub ster room |  | 1.8 |  |  |  | 0.9
jan clo | hallway |  | 1.4 |  |  |  | 0.7
clean up room | hallway |  | 2 |  |  |  | 1
sterile instrument supply storage area | hallway |  | 1.6 |  |  |  | 0.8
anesthesia office and storage | hallway |  | 1.8 |  |  |  | 0.9
lounge area | hallway |  | 1.6 |  |  |  | 0.8
| hallway |  | 1.8 |  |  |  | 0.9
| dr 1 |  | 1.2 |  |  |  | 0.6
| dr 2 |  | 1.2 |  |  |  | 0.6
| dr 3 |  | 1.2 |  |  |  | 0.6
dr 1 | cr |  | 1.2 |  |  |  | 0.6
| lounge area |  | 1.2 |  |  |  | 0.6
cr ng dr 1 | dr 1 |  | 1.2 |  |  |  | 0.6
dr 2 | cr |  | 1.2 |  |  |  | 0.6
| lounge area |  | 1.2 |  |  |  | 0.6
cr ng dr 2 | dr 2 |  | 1.2 |  |  |  | 0.6
dr 3 | cr |  | 1.2 |  |  |  | 0.6
| lounge area |  | 1.2 |  |  |  | 0.6
cr ng dr 3 | dr 3 |  | 1.2 |  |  |  | 0.6
0
3rd floor |  | U | Area | Ti | To | Qs (W)
5 bed ward 1 | hallway |  | 2.4 | 22.5 | 28 | 0 | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
5 bed ward 2 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
5 bed ward 3 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
5 bed ward 4 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
isolation room | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
private room 1 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
private room 2 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
chief nurse | hallway |  | 1.8 | 22.5 | 28 |  | 0.9
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
treatment room | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
dirty utility | hallway |  | 1.2 | 24 | 28 |  | 0.6
clean linen | hallway |  | 1.2 | 24 | 28 |  | 0.6
private room 3 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
private room 4 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
isolation room 9 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
private room 5 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
private room 6 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
private room 7 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
3 bed ward 1 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
3 bed ward 2 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
private room 8 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
private room 9 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
private room 10 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
private room 11 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
private room 12 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
private room 13 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
private room 14 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
private room 15 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
private room 16 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
| cr |  | 1.4 | 22.5 | 24 |  | 0.7
solarium 1 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
solarium 2 | hallway |  | 2.4 | 22.5 | 28 |  | 1.2
waiting area | hallway |  | 3.2 | 22.5 | 28 |  | 1.6
| admitting |  | 1.6 | 22.5 | 22.5 |  | 0.8
| cashier |  | 1.6 | 22.5 | 22.5 |  | 0.8
| personel's dinning |  | 3.2 | 22.5 | 24 |  | 1.6
admitting | waiting area |  | 1.6 | 22.5 | 22.5 |  | 0.8
cashier | waiting area |  | 1.6 | 22.5 | 22.5 |  | 0.8
personel's dinning | waiting area |  | 3.2 | 24 |  |  | 1.6
| cr |  | 1.2 | 24 | 24 |  | 0.6
male toilet | hallway |  | 1.8 | 24 | 28 |  | 0.9
female toilet | hallway |  | 1.8 | 24 | 28 |  | 0.9